| Overview | - This standard is about interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment, and by preparing and finishing dry lining walls and ceilings This standard is for people working in the occupational area of interior systems and can be used by operatives, supervisors and managers |
| --- | --- |

| Performance criteria You must be able to: | - interpret the given information relating to the work and resources to confirm its relevance - comply with the given, relevant legislation and official guidance to carry out your work and maintain safe and healthy work practices - select the required quantity and quality of resources for the methods of work - comply with organisational procedures to minimise the risk of damage to the work and surrounding area - comply with the given contract information to carry out the work efficiently to the required specification - complete the work within the allocated time, in accordance with the programme of work |
| --- | --- |

| Knowledge and understanding You need to know and understand: | - Performance Criteria 1 Interpretation of information - the organisational procedures developed to report and rectify inappropriate information and unsuitable resources, and how they are implemented - the types of information, their source and how they are interpreted - the organisational procedures to solve problems with the information and why it is important they are followed |
| --- | --- |
| You need to know and understand: | - Performance Criteria 2 Safe work practices - the level of understanding operatives must have of information for relevant, current legislation and official guidance and how it is applied - how emergencies should be responded to and who should respond - the organisational security procedures for tools, equipment and personal belongings - what the accident reporting procedures are and who is responsible for making the report - why, when and how health and safety control equipment should be used - how to comply with environmentally responsible work practices to meet current legislation and official guidance |

| You need to know and understand: | - Performance Criteria 3 Selection of resources - the characteristics, quality, uses, sustainability, limitations and defects associated with the resources and how defects should be rectified - how the resources should be used and how any problems associated with the resources are reported - the organisational procedures to select resources, why they have been developed and how they are used - the hazards associated with the resources and methods of work and how they are overcome |
| --- | --- |
| You need to know and understand: | - Performance Criteria 4 Minimise the risk of damage - how to protect work from damage and the purpose of protection - why disposal of waste should be carried out safely and how it is achieved |
| You need to know and understand: | - Performance Criteria 5 Meet the contract specification - how methods of work, to meet the specification, are carried out and problems reported - how maintenance of tools and equipment is carried out |
| You need to know and understand: | - Performance Criteria 6 Allocated time - what the programme is for the work to be carried out in the estimated, allocated time and why deadlines should be kept |

| Additional Information |  |
| --- | --- |
| Scope/range related to performance criteria | Performance Criteria 1 - interpretation of drawings, specifications, schedules, method statements, risk assessments and manufacturers' information related to the work to be carried out |
|  | Performance Criteria 2 - avoidance of risk by complying with the given information relating to the following - methods of work - safe use of health and safety control equipment - safe use of access equipment - safe use, storage and handling of materials, tools and equipment - specific risks to health |
|  | Performance Criteria 3 - selection of resources associated with own work - materials, components and fixings - tools and equipment |
|  | Performance Criteria 4 - protection of the work and its surrounding area from damage - maintain a clean work space - disposal of waste in accordance with current legislation |
|  | Performance Criteria 5 - demonstration of work skills to measure, fit, apply, finish, position and secure - use and maintain hand tools, portable power tools and ancillary equipment - carry out at least three of the following to given working instructions - tape and joint by hand and/or mechanical methods - form internal and external angles - apply priming/protection/top coat - apply skim plaster finish |
|  | Performance Criteria 6 - completion of own work within the estimated, allocated time to meet the needs of other occupations and/or client |

| Scope/range related to knowledge and understanding | Disposal of waste - environmental responsibilities, organisational procedures, manufacturers’ information, statutory regulations and official guidance |
| --- | --- |
|  | Emergencies - operative's response to situations in accordance with organisational authorisation and personal skills when involved with - fires, spillages, injuries - emergencies relating to occupational activities |
|  | Hazards - those identified by risk assessment, methods of work, manufacturers’ technical information, statutory regulations and official guidance |
|  | Health and safety control equipment - identified by the principles of prevention for occupational use, types and purpose of each type, work situations and general work environment - collective protective measures - personal protective equipment (PPE) - respiratory protective equipment (RPE) - local exhaust ventilation (LEV) |
|  | Information - drawings, specifications, schedules, method statements, risk assessments, manufacturers' information and current guidance/regulations associated with finishing dry lining walls and ceilings |
|  | Legislation and official guidance - this relates to the operative's responsibilities regarding potential accidents, health hazards and the environment whilst working in the workplace, in confined spaces, at height, with tools and equipment, with materials and substances, with movement/storage of materials and by manual handling and mechanical lifting |
|  | Maintenance - operative care of hand tools, portable power tools and ancillary equipment |

|  | Methods of work - application of knowledge for safe and healthy work practices, procedures and skills relating to the method/area of work and materials used to - identify and follow the application quality requirements - identify the location of, and work around, electrical and mechanical services - tape and joint by hand and mechanical methods - form internal and external angles - apply primers, protections coats, top coats - apply skim plaster finish - recognise and determine when specialist skills and knowledge are required and report accordingly - identify how fire spreads through a building and how to impede it in order to protect people and the structure - work with, around and in close proximity to plant and machinery - use hand tools, portable power tools and equipment - work at height - use access equipment - team work and communication - needs of other occupations associated with finishing dry lining walls and ceilings |
| --- | --- |

|  | Problems - those arising from information, resources and methods of work - own authority to rectify - organisational reporting procedures |
| --- | --- |
|  | Programme - types of progress charts, timetables and estimated times - organisational procedures for reporting circumstances which will affect the work programme |
|  | Protect work - protect work against damage from general workplace activities, other occupations and adverse weather conditions |
|  | Resources - materials, components and equipment relating to types, quantity, quality, sizes and the sustainability of standard and/or specialist - tapes, scrims, angle beads, jointing and finishing compounds, primers and top coats - skimming plasters - clean water, polythene - hand tools, portable power tools and equipment - select correct resources and materials to comply with the specification - methods of calculating quantity, length, area and wastage associated with the method/procedure to finish dry lining walls and ceilings |
|  | Security procedures - site, workplace, company and operative |

| Developed by | ConstructionSkills |
| --- | --- |
| Version number | 3 |
| Date approved | November 2015 |
| Indicative review date | November 2020 |
| Validity | Current |
| Status | Original |
| Originating organisation | ConstructionSkills |
| Original URN | VR618 |
| Relevant occupations | Construction Operatives |
| Suite | Interior Systems (Construction) |
| Key words | Taping; Skim plaster: Primer; Protection coats; Top coats; Angle beads; Tapes; Scrims |